## LGU+ 양주신산국사
#Type | = | battery
#Date | = | 2023-10-13 09:00
#Model No. | = | BT3554
#Serial No. | = | #170915345
#Instrument | = | BT3554#170915345
#Additional Info. | = | H
#Tag | =
#Title | =
#Comment | =
#Memory | = | UNIT H | (D조)
No. | Date | Time | R-Range | Resistance |  | R-Threshold(WARNING) |  | R-Threshold(FAIL) |  | V-Range | Voltage |  | V-Threshold(WARNING) |  | Temperature |  | Result | Comment | Voltage Jadgement | Profile-No. | Location | Device | Battery-No.
1 | 2023-10-11 | 12:34 | 3mΩ | 0.683 | mΩ |  | mΩ |  | mΩ | 60V | 2.23 | V |  | V |  | °C | OFF
2 | 2023-10-11 | 12:34 | 3mΩ | 0.696 | mΩ |  | mΩ |  | mΩ | 60V | 2.25 | V |  | V |  | °C | OFF
3 | 2023-10-11 | 12:34 | 3mΩ | 0.646 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
4 | 2023-10-11 | 12:35 | 3mΩ | 0.676 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
5 | 2023-10-11 | 12:35 | 3mΩ | 0.69 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
6 | 2023-10-11 | 12:35 | 3mΩ | 0.732 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
7 | 2023-10-11 | 12:35 | 3mΩ | 0.674 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
8 | 2023-10-11 | 12:35 | 3mΩ | 0.657 | mΩ |  | mΩ |  | mΩ | 60V | 2.31 | V |  | V |  | °C | OFF
9 | 2023-10-11 | 12:35 | 3mΩ | 0.82 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
10 | 2023-10-11 | 12:35 | 3mΩ | 0.688 | mΩ |  | mΩ |  | mΩ | 60V | 2.24 | V |  | V |  | °C | OFF
11 | 2023-10-11 | 12:35 | 3mΩ | 0.867 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
12 | 2023-10-11 | 12:35 | 3mΩ | 0.671 | mΩ |  | mΩ |  | mΩ | 60V | 2.23 | V |  | V |  | °C | OFF
13 | 2023-10-11 | 12:35 | 3mΩ | 0.723 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
14 | 2023-10-11 | 12:35 | 3mΩ | 0.824 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
15 | 2023-10-11 | 12:35 | 3mΩ | 0.666 | mΩ |  | mΩ |  | mΩ | 60V | 2.26 | V |  | V |  | °C | OFF
16 | 2023-10-11 | 12:36 | 3mΩ | 0.752 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
17 | 2023-10-11 | 12:40 | 3mΩ | 0.933 | mΩ |  | mΩ |  | mΩ | 60V | 2.26 | V |  | V |  | °C | OFF
18 | 2023-10-11 | 12:36 | 3mΩ | 0.836 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
19 | 2023-10-11 | 12:36 | 3mΩ | 0.63 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
20 | 2023-10-11 | 12:36 | 3mΩ | 0.698 | mΩ |  | mΩ |  | mΩ | 60V | 2.28 | V |  | V |  | °C | OFF
21 | 2023-10-11 | 12:36 | 3mΩ | 0.719 | mΩ |  | mΩ |  | mΩ | 60V | 2.29 | V |  | V |  | °C | OFF
22 | 2023-10-11 | 12:36 | 3mΩ | 0.767 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
23 | 2023-10-11 | 12:36 | 3mΩ | 0.817 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
24 | 2023-10-11 | 12:36 | 3mΩ | 0.722 | mΩ |  | mΩ |  | mΩ | 60V | 2.26 | V |  | V |  | °C | OFF
#Type | = | battery
#Date | = | 2023-10-13 09:00
#Model No. | = | BT3554
#Serial No. | = | #170915345
#Instrument | = | BT3554#170915345
#Additional Info. | = | J
#Tag | =
#Title | =
#Comment | =
#Memory | = | UNIT J | (E조)
No. | Date | Time | R-Range | Resistance |  | R-Threshold(WARNING) |  | R-Threshold(FAIL) |  | V-Range | Voltage |  | V-Threshold(WARNING) |  | Temperature |  | Result | Comment | Voltage Jadgement | Profile-No. | Location | Device | Battery-No.
1 | 2023-10-11 | 12:37 | 3mΩ | 0.656 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
2 | 2023-10-11 | 12:37 | 3mΩ | 0.63 | mΩ |  | mΩ |  | mΩ | 60V | 2.26 | V |  | V |  | °C | OFF
3 | 2023-10-11 | 12:37 | 3mΩ | 0.627 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
4 | 2023-10-11 | 12:37 | 3mΩ | 0.663 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
5 | 2023-10-11 | 12:37 | 3mΩ | 0.706 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
6 | 2023-10-11 | 12:37 | 3mΩ | 0.588 | mΩ |  | mΩ |  | mΩ | 60V | 2.24 | V |  | V |  | °C | OFF
7 | 2023-10-11 | 12:37 | 3mΩ | 0.706 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
8 | 2023-10-11 | 12:37 | 3mΩ | 0.731 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
9 | 2023-10-11 | 12:37 | 3mΩ | 0.628 | mΩ |  | mΩ |  | mΩ | 60V | 2.32 | V |  | V |  | °C | OFF
10 | 2023-10-11 | 12:37 | 3mΩ | 0.726 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
11 | 2023-10-11 | 12:37 | 3mΩ | 0.62 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
12 | 2023-10-11 | 12:37 | 3mΩ | 0.63 | mΩ |  | mΩ |  | mΩ | 60V | 2.26 | V |  | V |  | °C | OFF
13 | 2023-10-11 | 12:38 | 3mΩ | 0.606 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
14 | 2023-10-11 | 12:38 | 3mΩ | 0.662 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
15 | 2023-10-11 | 12:38 | 3mΩ | 0.662 | mΩ |  | mΩ |  | mΩ | 60V | 2.26 | V |  | V |  | °C | OFF
16 | 2023-10-11 | 12:38 | 3mΩ | 0.619 | mΩ |  | mΩ |  | mΩ | 60V | 2.21 | V |  | V |  | °C | OFF
17 | 2023-10-11 | 12:38 | 3mΩ | 0.604 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
18 | 2023-10-11 | 12:38 | 3mΩ | 0.594 | mΩ |  | mΩ |  | mΩ | 60V | 2.32 | V |  | V |  | °C | OFF
19 | 2023-10-11 | 12:38 | 3mΩ | 0.683 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
20 | 2023-10-11 | 12:38 | 3mΩ | 0.63 | mΩ |  | mΩ |  | mΩ | 60V | 2.26 | V |  | V |  | °C | OFF
21 | 2023-10-11 | 12:38 | 3mΩ | 0.633 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
22 | 2023-10-11 | 12:38 | 3mΩ | 0.852 | mΩ |  | mΩ |  | mΩ | 60V | 2.27 | V |  | V |  | °C | OFF
23 | 2023-10-11 | 12:38 | 3mΩ | 0.633 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF
24 | 2023-10-11 | 12:38 | 3mΩ | 0.626 | mΩ |  | mΩ |  | mΩ | 60V | 2.2 | V |  | V |  | °C | OFF